### POLICY TITLE: MANUFACTURER RECALL OF MEDICAL DRUGS, DEVICES, AND SUPPLIES

PURPOSE:

The purpose of this policy is to ensure that a systematic process for patient identification, notification, follow-up and documentation are in place in the event of a recall of medical drugs, devices and supplies. The Director of Nursing will notify the appropriate staff of any recall information.

POLICY:

Upon receipt of a written recall of medical drugs, devices or supplies the following procedure is implemented.

PROCEDURE:

- Identify patients who were or could have been affected with the recalled lot numbers based on facility inventory and date of procedure.

- Verify the medication, device or supply was used or could have been used based on the patient’s chart.

- The Director of Nursing will contact the patient to advise them to discontinue the medication, device or supply use. The patient will be instructed to follow up with their physician if deemed medically necessary.

- Each patient will be sent a copy of the recall notification with the affected lot numbers.

- Medications, medical devices or supplies will be retrieved when recalled per the manufacturer’s guidelines. Each patient will be contacted, sent a self-addressed stamped envelope and asked to mail back any remaining product per the manufacturer’s guidelines.

- Surgery Center of XYZ will dispose of the medications, devices or supplies per the manufacturer’s guidelines.

- Follow the manufacturer’s recommendations for any remaining patient follow-up.