[image: image1.emf] Ambulatory Surgical Center (ASC) & 
End Stage Renal Disease (ESRD) 
Life Safety Code (LSC) 
Entrance Conference Documentation Checklist 
1. Fire Drills 








 
2. Fire Alarm System -- Maintenance & Testing 
(Includes Smoke Detector Sensitivity Testing)



 

3. Fire Extinguishers -- Maintenance 



 
4. Automatic Sprinkler System – Maintenance & Testing (Includes Fire Pump & Backflow if applicable)

 
5. Fire & Disaster Plan & Procedure 



 
6. Laboratory Emergency Procedure


 
7. Emergency Generator Testing Log 
(30-minute monthly load test & weekly battery test)




 

8. Smoking Policy








9. Oxygen Transferring Policy & Procedure

 
10. Drapery, Curtain, Hanging Fabric and Film Flame Retardancy 








 
11. Emergency Backup Battery Testing 


 
12. Interior Flame Spread Ratings



 
13. Medical Gas Certifications
14.  Relative Humidity Documentation for Anesthetizing Locations
15. Attestations to elect CMS Categorical Waivers 










