CAUSE AND EFFECT DIAGRAM FORM
Study Title: Possible Causes of Cannula Lumen Contamination

Project Leader: Cathy
Team Members: Dr. Smith, Amy, Mary, and Jane














Machine





Man





Measurement





Lack of training





Wrong PH 





Inconsistent use of magnifiers





Washer nozzles clogged





Not viewing 360 degrees end to end





Missing manufactures’ guidelines





Questionable water quality





Lack of supervision














Cannula Lumen Contamination





Rust spots/pitting were noted on some instruments





OR PRE wash process 


not following guidelines





Poor prep wash lighting





Inspection process shortcuts 





Inspection lighting does not meet OR requirements





Blue towels leaving lint 











Pipe cleaners shedding lint











Method





Environment





Materials









