Safety Feature Evaluation Form
SAFETY SYRINGES
Date: _____________ Reviewer: ________________________________________________________
Product: _____________________________________________   Number of times used: __________
Please circle the most appropriate answer for each question.  Not applicable (N/A) may be used if the question does not apply to this particular product.











      agree ……………. disagree

DURING USE:

1.  The safety feature can be activated using a one-handed technique . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A


2.  The safety feature does not obstruct vision on the tip of the sharp . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A


3.  Use of this product requires you to use the safety feature . . . . . . . . . . . . . . . . . . . . . . . . . . 1 2 3 4 5 N/A
4.  This product does not require more time to use than a non-safety device . . . . . . . . . . . . . 1 2 3 4 5 N/A

5.  The safety feature works well with a wide variety of hand sizes . . . . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A

6.  The device is easy to handle while wearing glove chamber  . . . . . . . . . . . . . . . . . . . . . . . . . 1 2 3 4 5 N/A

7.  This device does not interfere with uses that do not require a needle . . .  . . . . . . . . . . . . . 1 2 3 4 5 N/A

8.  This device offers a good view of any aspirated fluid . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A

9.  This device will work with all required syringes and needle sizes . . . . . . . . . . . . . . . . . . . . . 1 2 3 4 5 N/A

10.This device provides a better alternative to traditional recapping. . . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A
AFTER USE:

11. There is a clear and unmistakable change (audible or visible) that occurs

       when the safety feature is activated . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A

12. The safety feature operates reliably . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1 2 3 4 5 N/A

13. The exposed sharp is permanently blunted or covered after use and prior to disposal. . . 1 2 3 4 5 N/A

14. This device is no more difficult to process after use than non-safety devices. .  . . . . . . . .  1 2 3 4 5 N/A
TRAINING:

15. The user does not need extensive training for correct operation  . . . . . . . . . . . . . . . . . . .  1 2 3 4 5 N/A

16. The design of the device suggests proper use . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . . 1 2 3 4 5 N/A

17.  It is not easy to skip a crucial step in proper use of the device . . . . . . . . . . . . . . . . . . . . .   1 2 3 4 5 N/A

Would you recommend using the device?         YES           NO

Comments ____________________________________________________________________________

_____________________________________________________________________________________

