SURGERY CENTER XYZ
WEEKLY EYEWASH INSPECTION CHECK
YEAR: 2019

	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	JAN / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	FEB / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	MAR / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	APRIL / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	MAY / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	JUNE / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	JULY / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	AUG / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	SEPT / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	OCT / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	NOV / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


	Month / Week
	Sterile Processing
	PACU
	Pre-Op
	Signature

	DEC / Week 1
	
	
	
	

	          Week 2
	
	
	
	

	          Week 3
	
	
	
	

	          Week 4
	
	
	
	

	          Week 5
	
	
	
	


Each Eyewash Unit will be inspected on a weekly basis and flushed with water to assure operations. During the inspection ensure that the following are satisfactory:

1.)  Pressure

2.)  Leakage

3.)  Corrosion

4.)  Function/Activation 

            5.)  Access

Annually each unit will run for 15 min. straight to test for functionality.
	2019

Annual
	Sterile Processing
	PACU
	Pre-op
	Signature

	Date:
	
	
	
	


