Surgery Center XYZ

Fire Drill Evaluation

Time of occurrence: ______________________                                     Date: _________________________

Activity type:                    Drill                    False Alarm                    Fire Incident

Location of incident: ____________________________________________________________________

Device type activated: _______________________________                ID #: ________________________

Fire Plan Implementation

Actions at Primary Location:

Did discovering personnel activate the fire alarm?					Yes        No

Did responding personnel know their role in the fire plan?				Yes        No

Were all primary fire plan elements implemented?					Yes        No

Comments: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________

Actions in adjacent smoke compartment:

Did personnel know their role in the fire plan?					Yes        No

Were all primary fire plan elements implemented?					Yes        No

Comments: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________

Action at random location (specify location):

Did personnel know their role in the fire plan?					Yes        No

Were all primary fire plan elements implemented?					Yes        No

Comments: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

______________________________________________________________________________

Surgery Center XYZ

Support/Notification Activities

Were alarms audible or visible in all areas?						Yes        No

Was the Fire Department notified?							Yes        No

Name of fire official contacted: ____________________________________________________

Did automatic smoke door closures function properly?				Yes        No

Were corridors, stairways, and exits unobstructed?					Yes        No

Did equipment shut down as designated?						Yes        No

Were fire extinguishers in proper locations and accessible?				Yes        No

Comments: __________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Summary: ______________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Recommendations(s): ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Recorder of Event: ______________________________________________________________

Date reported to board:__________________________________________________________