FIRE  WATCH  Log

Date:___________________________________________Facility:__________________________________________

Project Manager:_______________________________

Project Location:_______________________________

Start Time:_____________________________________

Fire Watch to include the following activities:

# Outside doors are closed and secured, and windows, fire doors and fire shutters are closed.

- All waste, rags, paint residue, rubbish, and similar combustible items are removed from the building.

- All remaining operable fire protection equipment is in place and not obstructed.

- Ensure that all aisles are clear.

- Confirm that all motors or machines not required to operate are turned off.

- All unsecured offices and conference rooms are checked for unapproved smoking material that may have been carelessly discarded.

- All unnecessary heat-producing devices are turned off in the impairment area.

- Ensure that flammable and combustible materials are properly stored in approved containers. (NOTE: Flammable compressed gas cylinders must be stored in a 1-hour fire resistance rated room.)

- Ensure that sprinkler valves are in the open position. (NOTE: If sprinkler control valves are electronically supervised by the Automatic Fire Alarm System and are not impaired by this scope of work, then visual examination is not required.)

- Check for proper ventilation in the impaired area.

- Ensure there are no leaks from the plumbing fixtures and piping.

Inspection Log:

Fire Watch Discontinued:  Date: _________________ Time:________________ By: ____________________________

| Date: | Inspected By: | Time: |
| --- | --- | --- |

| Date: | Inspected By: | Time: |
| --- | --- | --- |

| Date: | Inspected By: | Time: |
| --- | --- | --- |