	
	
	
	Project Name:
	
	
	Step 5 - Sign and authorize risk 

	Date:
	
	
	Project Location:
	
	Step 3 - Find Precaution Level:
	assessment below

	Step 1 - Choose
	 
	
	Step 2 - Choose 
	
	Step 4 - Color level of project:
	Step 6 - Return to Infection

	work area:
	 
	
	type of work:
	
	 
	Control - Addresses below

	1 - Work Area
	1 - Work Area
	
	 2 - Type of Work
	
	 3 - Infection Control Precautions
	3 - Infection Control Precautions

	1
	4
	
	A
	
	GREEN
	ORANGE

	Office Areas
	Endo / DDCC
	
	Non-invasive, inspection, wallcovering,
	
	1A, 2A, 3A, 5A, 6A, 6B, 6C, 6D
	4A, 3B, 2C, 5C

	2
	CSPD
	
	electrical trim, minor plumbing
	
	*Ceiling tile sprayed with bleach
	In addition to GREEN and

	Kitchens, cafeterias
	Pharmacy Main
	
	NO sanding, wall cutting or dust
	
	prior to displacing, replaced 
	YELLOW precautions;

	2300
	AND all satellites
	
	generation at all
	
	immediately after visual inspection.
	*Infection Control consulted

	6300, 6400
	4400, 7200
	
	B
	
	* Visitor and patient traffic routes
	* Dust minimized - partitions 

	7300, 7400, 7500
	Dialysis
	
	Small scale, short duration, minimal
	
	should avoid work area.
	erected to deck above.

	10100, 10200
	ALL ORs
	
	dust generation.  Including but not 
	
	* Clean supplies transported and
	* Optimal: Chute for debris removal,

	11100, 11200
	Perfusion, Card Cath 
	
	limited to; cables or wires above ceilings, 
	
	stored away from contaminated
	with HEPA filter or see

	11400, 11500
	All ICUs and CCUs
	
	accessing chase spaces, wall cutting, 
	
	materials.
	YELLOW  elevator guidelines.

	12100, 12200
	Chemo Center
	
	ceiling penetrations where dust can
	
	* Water interruption scheduled 
	* Barriers - dampers closed, assure

	13100, 17400
	All nurseries
	
	be controlled
	
	during times of low activity.
	adjacent air filters functioning,

	14400, 14500
	5300, 5400
	
	C
	
	YELLOW
	airtight plastic or drywall barriers 

	15300, 15400, 15500
	14300
	
	Work that generates moderate to high
	
	1B, 1C, 2B, 5B
	from floor to ceiling, seams sealed 

	17400
	Radiation Oncology
	
	levels of dust, removal or demolition of
	
	In addition to  GREEN precautions;
	with duct tape or ECUs - NOTE

	3
	Gamma Knife
	
	fixed building components or
	
	* Mist work surfaces when cutting
	barriers must be removed carefully

	Wound Center, CDL
	3200, 5900
	
	assemblies, including but not limited to;
	
	*Air vents or returns blocked and 
	to minimize dust generation. Barriers

	Admitting, ED
	6900, 7900
	
	sanding walls, removing floorcovering,
	
	sealed - Facilities Engineering
	to be disposed of with other debris.

	Pulmonary Rehab
	8100, 9400
	
	ceiling tiles and casework, new wall
	
	to evaluate - If air handler supplies 
	*Negative pressure in const. area

	Resp Care, Lab
	89ICU & PICRU
	
	construction, minor duct or electrical
	
	construction area only, it should be
	with HEPA filters

	PACU, Shukar, SDSA 
	Bronch, MPC
	
	work above ceilings, major cabling or
	
	shut down
	*Increase air filter changing.

	All Radiology and CT
	5
	
	wiring activities, or anything that cannot
	
	(monitor filters during construction
	* Vents cleaned prior to occupancy

	Physical Therapy
	Outside near
	
	be completed within a single work 
	
	and change if necessary)
	* Water lines at site and adjacent

	5200, 6200, 6500
	air intakes
	
	shift.
	
	*1 room areas to have walls from floor
	areas flushed prior to occupancy

	7100, 71OU
	6
	
	D
	
	to ceiling, door closed, frame and 
	*Outside demolition >75 feet from

	Nuclear Medicine
	Outside away from
	
	Major demolition or construction.
	
	door duct taped.
	air intakes.

	9100, 9200
	air intakes
	
	Including but not limited to; activities 
	
	*Debris removed in covered, sealed 
	RED

	10100, 10200, 10500
	
	
	which require consecutive work shifts,
	
	or taped containers, use service 
	4B, 3C, 4C, 1D, 2D, 3D, 4D, 5D

	4900
	
	
	heavy demolition or removal of
	
	elevators or non patient elevator.
	In addition to GREEN, YELLOW and 

	Ultrasound
	
	
	complete cabling or wiring systems,
	
	* Walk-off mats at entrance
	 ORANGE precautions;

	NOTE:  DAMAGED 
	
	
	new construction.
	
	*Penetrations in walls not open for
	*Infection Control consulted

	ASBESTOS FOUND
	
	
	STEP 5
	
	> 4 hours.  Cover w plastic and
	*Patients relocated to remote area 

	WILL BE ABATED
	
	
	Date
	
	tape if more.
	away from construction.

	OR ENCAPSULATED
	
	
	Contractor
	
	*Ceiling tiles replaced ASAP, if
	STEP 6

	PER
	
	
	I am aware of and will enforce
	
	open >4 hours, must be covered.
	Please send to Infection Control

	ENVIRONMENTAL
	
	
	Infection Control precautions required
	
	
	 

	HEALTH AND 
	
	
	for this project.
	
	
	 

	SAFETY POLICY
	
	
	 
	
	
	 


