MONTHLY FIRE EXTINGUISHER CHECKLIST
The following items shall be checked on all fire extinguishers at the facility and documented. If there is a fire extinguisher on site that does not pass the monthly inspection, notify the safety department immediately.
Interior Extinguishers:
· Mounted in an easily accessible place, no debris or material stacked in front of it.

· Safety pin is in place and intact. Nothing else should be used in place of the pin.

· Label is clear and extinguisher type and instructions can be read easily.

· Handle is intact and not bent or broken.

· Pressure gauge is in the green and is not damaged or showing “recharge”.

· Discharge hoses/nozzle is in good shape and not clogged, cracked, or broken.

· Extinguisher was turned upside down (shaken).

Exterior Extinguishers:
· Discharge hose/nozzle is in good shape and not clogged, cracked, or broken.

· It is mounted in an easily accessible area, with nothing stacked around it.

· Safety pin is in place and not damaged.

· Pressure gauge is in the green and not damaged or showing “recharge”.

· Label is readable and displays the type of extinguisher and the instructions for use.

· It is not rusty, or has any type of corrosion build up.

· Extinguisher was turned upside down (shaken).

· The location of the extinguisher is easily identifiable (signs).

MONTHLY FIRE EXTINGUISHER INSPECTION RECORD
(Record all deficiencies on the monthly plant inspection to be turned into the Safety Department)

	January - _(INITIAL)_
Total # of Extinguishers onsite: ____________
All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	February
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	March
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	April
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO

	May
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	June
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	July
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	August
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO

	September
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	October
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	November
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO
	December
Total # of Extinguishers onsite: ____________

All have been inspected:

              YES    NO

All passed inspection:

              YES    NO

# Did not pass: ______

Notified Safety Officer
              YES    NO


