Name: ____________________________________
Competency Checklist

OR Fire Response Drill 
Objective: Staff will verbalize strategies to prevent fire in the OR and demonstrate appropriate actions in response to a fire emergency

Validating Mechanism:

O: Observation

D: Demonstration





S: Simulation

V: Verbalization

	PERFORMANCE CRITERIA
	Validating Mechanism
	Meets

	1. Verbalize how to evaluate patients for fire risk in the OR
· Fire Triangle
· Fire Risk Assessment Score
· Fire Safety Protocols
	V
	

	2. Verbalize the meaning of the acronym RACE
	V
	

	3. Verbalize actions of appropriate alarm response

a. Announce “Code Red”

b. Call 911

c. Demonstrates knowledge of the location of the fire pull station
d. Makes call to front desk/supervisor with report of fire and containment strategies
	V, S
	

	4. Initiates procedure for extinguishing fire on a patient in the OR
a. Smother flames with wet towels and/or douse with saline

b. Removes the drapes from the patient and contain/put out fire

c. Verbalizes/Simulates use of fire extinguisher (Verbalizes meaning of the acronym PASS)

d. Turn off medical gas valve to room as directed by Anesthesia
e. Terminates surgery/anesthesia ASAP
f. Assess and treat patient
	O, V, S
	

	5. Demonstrates appropriate evacuation procedure for patients undergoing a surgical procedure (actions below are concurrent):
Scrub

a. Assists surgeon in packing wound with sterile gauze or covering wound with a sterile towel

b. Gathers only necessary instruments and supplies onto patient and pushes back mayo

c. Assists in transporting the patient

Circulator

a. Disconnects any cords/equipment from patient (EG: ESU, Video, etc.)

b. Ensures clear path to door

c. Assists anesthesia as needed (EG: unplugging bed, securing IV, Foley, etc.)

d. Assists in transporting patient

Anesthesia Care Provider

a. Turns off anesthesia gases and disconnects breathing circuit

b. Obtains and uses ambu bag for ventilation during transport

c. Unlocks bed

d. Gathers and protects any patient IVs or lines

e. Assists in transporting the patient
	O, S
	

	6. Verbalizes designated evacuation routes
	V
	

	7. Verbalizes follow-up procedure for fire
a. If not yet called, notify Fire Safety department for any fire

b. Preserve all materials, such as drapes, disposable supplies, equipment, etc. Do not remove from room
c. Notify Risk Management and complete an event report

d. Document on OR Report the location and description of any skin alterations
	V
	



________________________________________

__________

____________


Signature of Evaluator




Initials


Date
