### POLICY TITLE: RADIATION SAFETY PROCEDURES

PURPOSE:

To ensure patient, staff and physician safety when radiation energy sources are used.

DEFINITIONS:

Absorbed dose – Energy imparted to matter by ionizing radiation per unit mass of irradiated material at the place of interest. The special unit of absorbed dose is the rad.

Attenuation – The process by which a beam of radiation is reduced in intensity when passing through some material.

Beam – Unidirectional flow of electromagnetic radiation or particles.

Decay, radioactive – Disintegration of the nucleus of a nuclide by spontaneous emissions of charged particles and/or protons.

Distance – The greater the distance from the source of radiation, the less exposure.

Exposure – A measure of the total quantity of radiation reaching a specific point. Exposure is controlled in three ways: shield, distance, and time.

Film badge – A personal monitoring device that uses film as a sensing medium to determine the occupational exposure of workers to ionizing radiation.

Fluoroscopy – The observation of the internal features of an object by means of the fluorescence produced on a screen by X-rays transmitted through the object. Personnel can receive 10 times more radiation during one minute of fluoroscopy than one X-ray film exposure.

Gamma radiation – The emission of electromagnetic energy from the nucleus of an atom.

Half-life, biological – The time required for the body to eliminate one half of an administered dosage of any substance by regular processes of elimination.

Half-life, radioactive – The time required for a radioactive substance to lose 50% of its activity by decay.

Ionizing radiation – Electromagnetic radiation which yields ions as it passes through tissue.

MPD – Maximum permissible dose of X-ray per quarter.

- whole body – 1.25rem

- hands – 18.75 rem

- skin – 7.5rem

- other organs (thyroid) – 15rem

RAD – Radiation absorbed dose.

REM – (Roentgen-Equivalent-Man) The amount of ionizing radiation, absorbed by man, that is required to produce a biologic effect equivalent to one roentgen.

Scatter radiation – Radiation scattered when an X-ray beam strikes a patient’s body, as it passes through the body, and as it strikes the table, the floor, and/or the walls.

Shielding – The best protection for those working close to a source of radiation.

###### POLICY:

- The Radiation Safety Program is under the direction of the Radiation Safety Officer, who has been appointed by the Facility’s Governing Board.

- The Radiation Safety Officer will be reaffirmed annually by the Governing Board and the Radiation Safety Program is reviewed at least annually by the Governing Board.

- The Radiation Safety Officer will perform quarterly reviews of the Facility’s Radiation Program and provide a report to the Quality Committee, Medical Advisory Committee and the Governing Board.

- The Facility uses radiologic services for interpretative purposes only during procedures performed.  Diagnostic and therapeutic radiologic services are not offered by the Facility.

- Only medical staff credentialed in the use of radiation-emitting equipment and interpretation of radiologic images may use radiologic equipment and supervise staff that operate radiation-emitting equipment.

- When radiologic images are stored in the Facility’s patient clinical record, the images are authenticated by the physician of record for the procedure.

- The Facility is licensed to use radiation-emitting equipment.

- Each piece of radiation-generating equipment bears a warning label stating the radiation is produced when the unit is activated.

- Radiologic images, equipment licenses and inspection certificates and preventive maintenance of the radiation-emitting equipment are kept on site at the Facility. The Director of Nursing is responsible for ensuring licensing and PM contracts are maintained.

- Radiation safety policies and procedures are in place and staff are trained at hire and annually on these policies, and competencies are in place for staff that use radiation-emitting equipment.

- Radiation is measured for all staff exposed to radiation-emitting equipment through the use of radiation badges. These are monitored quarterly for elevated levels of radiation exposure through a contracted vendor. The results are included in the quarterly Radiation Officer’s Report.

- Radiation shielding devices are stored to avoid creasing or folding these devices. This can lead to breakage and decreased protection from radiation.

###### PROCEDURE:  Patient, employee and Medical Staff Safety

- “CAUTION: X-ray Equipment May Be in Use” sign shall make the public and Facility personnel aware of potential radiation exposure.

- Radiologic procedures will be avoided on the abdominal and pelvic region of a known pregnant person. These areas will be protected on any female, of child bearing age, by a lead shield.

2.1. On any studies of the abdomen, hips or upper legs, lead shields will be used to protect the patient’s gonads, unless it interferes with the procedure.

2.2. On any study of upper extremities, chest or head, lead shields will be used to protect the thyroid, unless it interferes with the procedure.

2.3. Patient protection measures are documented to include type of protection and area(s) protected.

- All personnel in the room shall be protected from direct scatter by protective aprons or whole body protective barriers. When possible personnel should step outside the room while radiologic equipment is in use.

3.1. Personnel wearing lead aprons should position themselves behind or to the side of the X-ray beam, but should face the X-ray machine at all times.

3.2. All doors must be fully closed while radiation emitting equipment is in use.

3.3. Anesthesia personnel should wear thyroid shields and aprons during any X-ray procedure.

3.4. Signs are posted on doors to the room where radiologic equipment is in use.

4. All personnel shall wear radiation monitoring badges at any time where there is potential exposure to radiation. These badges are changed quarterly and sent out to be read to determine the radiation exposure of each individual. These records are kept a minimum of three years. When using protective aprons, the personnel monitoring badges shall be worn on the outside of the apron at the collar level.

4.1. Radiation safety for the pregnant employee is addressed in a meeting with the Radiation Safety Officer.

4.2. All personnel will wear a film badge whenever X-ray or fluoroscopy is used for patient procedures or while caring for patients who have received radioactive materials in therapeutic amounts.

4.3. All occupationally exposed personnel will wear a monitor (type WE). The dosimeter will be worn at the collar level outside the lead apron.

4.4. If two dosimetry badges are issued (either because of high dosimetry levels or fetal monitoring) the second badge is worn at waist level under lead.

4.5. If a finger badge is issued, this is worn on the hand most likely to receive the most exposure.

4.6. Badges will be kept in a low radiation background area. Dosimeters should be mounted on a storage rack at all times when they are not in use. Badges should never be worn outside the facility.

4.7. The duration of each monitoring period should be quarterly. All badges will be evaluated by an occupational radiation detection service.

4.8. A detailed report of “whole body” exposure will be sent to the facility each quarter.

5. Occupation dose limits as proposed by the Nuclear Regulatory Commission and Bureau of Radiologic Health are as follows:

5.1. 5000 mrem per year to the whole body

5.2. 1250 mrem to the whole body in any calendar quarter

5.3. 400 mrem to the whole body in any month

6. Pregnant personnel may not receive more than 500 mrem during the entire term of pregnancy. Pregnant personnel will not be allowed during any procedures requiring fluoroscopy.

7. Any exposure levels that are above the permissible level will be reported to the Director of Nursing or Radiation Safety Officer and also investigated by the radiation physicist, with a written report of the findings given to the employee and a copy maintained on file.

8. Quarterly radiation exposure reports will be posted so that all employees may review their exposure. Employees must sign or initial by their name that they have reviewed their report.

9. In accordance with OSHA regulations, all radiation reports should be maintained for thirty (30) years.

10. Radiation Safety Officer Responsibilities:

10.1. Acts as the Facility Radiation Safety Officer.

10.2. Reviews the policies and procedure for radiology services and recommends revisions/ additions.

10.3. Reviews training documentation for personnel qualified to use radiological equipment.

10.4. Reviews film badge dosimetry reports of staff involved in radiological procedures.

10.5. Reviews quality improvement studies and risk management activities regarding radiological services.

10.6. Makes recommendations as appropriate for patient and employee safety regarding radiological safety.

10.7. Completes a quarterly review of the Facility Radiation Safety Program to the Quality Committee, Medical Advisory Committee and the Governing Board.