### POLICY TITLE: ANNUAL FIRE INSPECTION AND IN-SERVICE

PURPOSE:

The purpose of this policy is to ensure that the facility is in compliance with local fire regulations and that the staff is familiar with the Fire Safety Policies and Procedures.

PROCEDURE:

- On an annual basis, Surgery Center of XYZ Director of Nursing will request that the local fire department conduct a fire inspection of the facility.

  - All fire alarms and suppression systems will be tested including verification of signal transmission.

  - The results of these tests will be documented and maintained for a three year period.

  - The in-service will consist of didactic training by the fire official or safety officer as well as a fire drill and a critique of the drill. The staff will have the opportunity to operate a fire extinguisher in the parking lot.

  - Staff will participate in quarterly fire drills, pulling the alarm. At least annually one fire drill will include evacuation of the building.