### POLICY TITLE: FIRE WATCH

PURPOSE:

The purpose of this policy is to ensure the facility has in place a system to maintain safety should the fire alarm or sprinkler systems be found to be inoperable.

PROCEDURE:

- Upon discovery by any staff member that either the fire alarm system or the sprinkler system is not functioning properly, the Director of Nursing will be notified.

- The Director of Nursing will immediately notify the proper contracted vendor to schedule repairs.

- If repairs cannot be accomplished within 4 hours of discovery, the Director of Nursing will initiate an immediate fire watch. An identified trained staff member will be relieved of all responsibilities and will circulate the facility completely every 30 min observing by sight and smell for any suspicious fire activity or smoke. Fire department and Department of Health will be notified.

- The staff member performing the fire watch will immediately call 911 should any discovery be made.

- The fire watch maybe discontinued once all systems have been repaired.