### POLICY TITLE: INTERRUPTION OF WATER SERVICE– CODE “GREEN”

PURPOSE:

The purpose of this policy is to provide emergency water in the event of a scheduled or unscheduled interruption of the water supply.

PROCEDURE:

- The water supply to the facility is supplied by the local provider.

- In the event of an elective interruption of water service to the facility, the operative schedule will be cancelled and rescheduled.

- In the event of an emergency or nonscheduled interruption of water service of short duration:

  - A minimum of 20 gallons of bottled water will be immediately obtained from a local supplier.

    - Procedures currently underway will be finished.

    - No procedures will be instituted until the resumption of water service.

- In the event of an emergency interruption of water service to the facility of undetermined or long duration:

  - A minimum of 20 gallons of bottled water will be immediately obtained from a local supplier.

  - Procedures currently underway will be finished.

  - Scheduled procedures will be cancelled and rescheduled or possibly moved to the Hospital.