POLICY: RED BAG CONTENTS

PURPOSE: Waste materials can be classified as potentially infectious or noninfectious. Medical waste management is a major expenditure for healthcare organization and may consume large portions of a hospital’s annual budget for environmental services.

PROCEDURE: The following materials that are heavily soiled with blood or other bodily fluids are to be placed in the red bags for pickup by outsourced biohazard waste company.

1.	INFECTIOUS WASTE:  This includes any disposable item that has been heavily soiled by blood, tissue that would release blood or other infectious material in a liquid or semi-liquid state if compressed, or items that are caked with dried blood or other potentially infectious material.  When disposed of, these must be placed in closable leak-proof containers or bags that are color-coded, labeled, or tagged for easy identification as bio hazardous waste:

| - Exam or Surgical Gloves | - Waste from Isolation Rooms |
| --- | --- |
| - Absorbent Gauze | - Suction Tubing |
| - Dressings and Packing | - Laboratory Wastes |
| - Swabs | - Culture Dishes |
| - Specula | - Pasteur Pipettes* |
| - Soiled Gowns | - Capillary Tubes* |
| - Drapes | - Lancets* |
| - Catheters & Cannulae | - Slides* |
| - Probe Sheaths | - Vacu-tainers & other vials contaminated by specimens* |
| - Any residual specimen from medical or pathological laboratories | - Discarded Live & Attenuated Vaccines |
| - Used PPE |  |

- PATHOLOGICAL WASTE: Tissues, biopsy specimens, blood, and body fluids removed in surgery and biopsy.

- SHARPS:

  - Used hypodermic equipment (including syringes).

  - Scalpel blades.

  - Lancets.

  - Suture needles.

  - Broken glass.

  - Any item in marked with an *.

Sharps and glass MAY NOT be placed directly into a red bag.  They must be deposited into leak-proof, rigid, puncture-resistant containers that are tightly lidded and are securely closed prior to being put into red bag containers. Sharps containers will be switched out when they reach the fill line indicated on the outer surface. Standard precautions must be adhered to at all times, which includes the required use of eye protection, barrier materials, and gloves when handling bio-hazardous materials, including IV bags and tubes.

If 20 or more pounds of biohazardous waste are generated per month, you shall not contain or store biohazardous or sharps waste above 0 degrees Centigrade (32 degrees Fahrenheit) at any onsite location for more than seven days without obtaining prior written approval of the enforcement agency.

Reference:

- Occupational Safety and Health Standards, Toxic and Hazardous Substances, Standard Number 1910.1030 Bloodborne Pathogens