POLICY: SELECTION OF BARRIER MATERIALS: SURGICAL GOWNS & DRAPES

PURPOSE: To guide the selection of appropriate barrier materials such as gowns and drapes that are used in the operating room.

PROCEDURE:  Materials used for the construction of surgical gowns and drapes should be safe, meet identified needs, and promote the safety of patients and staff.

Surgical gowns and drapes should:

- Provide an appropriate barrier to microorganisms, particulate matter, and fluids.

- Be resistant to penetration by blood and other body fluids.

- Be appropriate to methods of sterilization.

- Be low-linting.

- Maintain adequate integrity and durability.

- Withstand physical conditions.

- Resist tears, punctures, fiber strains, and abrasions.

- Have seams that minimize penetration or passage of potential contaminants.

- Resist combustion.

- Be free of toxic ingredients.

- Have favorable cost-benefit ratios.

- Be comfortable and contribute to thermal comfort.

- Drapes should be loosely conforming to the patient’s body contours.

- Have an acceptable quality level (i.e., freedom from holes/defects).

- Be used and processed according to manufacturer’s written instructions.