POLICY: SHELF LIFE OF STERILE SUPPLES

PURPOSE: Event-Related Sterility Maintenance Policy defines procedures intended to maintain the sterility of packages until they are used or if there is a manufacturer’s expiration date.

PROCEDURE: Event-related sterility packages containing sterile supplies wrapped in single-use or reusable materials are sterile until used or contaminated. Since some supplies have expiration dates and degrade over time, this document covers only those supplies for which the manufacturer or the distributor does not provide expiration dating in the form of labeling, instructions of use, or other statements.

Facility packaged and sterilized items are also event related.  They are sterile as long as they remain intact and in an environment of maximum 60% humidity and temperatures between 72 degrees F and 78 degrees F, do not become moist or wet, and are not handled frequently or stuffed tightly in a storage container or dropped.

Reference:

1.  Facilities Guideline Institute