### POLICY TITLE: CONSTRUCTION RISK ASSESSMENT

PURPOSE:

The purpose of this policy is to ensure that a Risk Assessment of the physical plant is completed if and when Surgery Center of XYZ undergoes demolition, construction, or renovation projects. The organization performs a proactive and ongoing risk assessment for existing or potential environmental hazards.

POLICY:

- During the planning phase of a project, after considering the facility’s patient population and programs, the Infection Preventionist shall provide an infection control risk assessment (ICRA).

- An ICRA is a determination of the potential risk of transmission of various air- and waterborne biological contaminants in the facility

- Safety measures are implemented based on the results of the assessment.

PROCEDURE:

- Healthcare facility planning, design and construction activities shall include: consideration of provisions for infection control, life safety and protection of occupants during construction.

- Please reference the CDC’s Guidelines for Environmental Infection Control in Health-Care Facilities2003 and AIA’s Guidelines for Design and Construction of Healthcare Facilities 2010

for complete guidelines found in the Infection Control policies.