### POLICY TITLE: REPORTING DEVICE FAILURE

PURPOSE:

The purpose of this policy is to establish criteria for documentation of all information regarding faulty devices or problems concerning equipment.

POLICY:

- All employees of the facility are responsible for identifying any piece of equipment as faulty and removing it from service.

- If the equipment is deemed faulty, the device is immediately tagged as “Out of Service” and removed from the clinical area. The product manufacturer is notified.

- An incident report form is completed if any injury or similar problem has occurred as a result of equipment failure.  The incident report must indicate any first aid measure taken and referrals for further treatment or observation.

- The incident report (if required) is given to the Director of Nursing immediately. If a patient was involved, do not file in the patient’s chart.

- All devices are properly cleaned/disinfected prior to sending out for service.