### POLICY TITLE: PRE-/POST-PROCEDURE AREA DAILY MAINTENANCE

PURPOSE:

The purpose of this policy is to identify the daily routine for the pre/post procedure area(s).

PROCEDURE:

- Check all blood pressure cuffs and pulse oximeters for proper functioning.

- Check inventory and restock items as necessary.

- Fold and stock laundry.

- Clean chairs and stretchers thoroughly with a disinfectant solution (Note: Stretchers must also be cleaned in between each patient use and integrity of all mattresses, arm boards, wedges, etc.  checked.).

- Keep patient area clean and tidy by cleaning area and replacing used equipment between each patient.